## Comments
Public Consultation for TG draft report
Document | TG116: Radiological Protection Aspects of Imaging in Radiotherapy
Submitted by
Please check "V" for either 'As an individual' or 'On behalf of'
As an individual | √
On behalf of
Please enter your name and affiliation.
Name | Rajesh A Kinhikar
Affiliation | Dr D Y Patil Medical College Hospital and Research Centre, Pune, India
General Comments (If you have any general comments about the report, please write them down.)
Thank you and well written. A chapter may be added for the following subtopics. In vivo dosimetry during IGRT Adaptive RT and Dose guided RT may be addressed. Open ended statements may be supported with the published literature. Doses from Mamography modes (CC, MLO and DBT) to be mentioned as a part of investigations. The dose ranges are from 1 mGy to higher side though minimal, may be added to the doses. A para each for Tomotherapy, Cyberknife, MRI_Linac, Zap-X may also be added as they are evolving now rapidly. Few lines about the PET-Linac or Biologically guided Radiotherapy (BGRT) may also be helpful from technological advancement point of view. Uncertainty estimation may be added extensively to estimate the vector analysis during patient setup and image guidance. Digital bank or cloud storage for images during IGRT is a need of the hour and one must look into it. If ICRP report emphasize on this aspect, it may be budgeted initially prior to setup a RT centre. It may also be worthwhile if ICRP recommends how long the images may be achieved…(5 yrs, 7 yrs, 10 yrs with a valid publication reference if any). Need adequate phantoms and radiation detectors for dosimetry.
Specific Comment (If you have any specific comments, please write them down.)
Section | Line | Comment
Abstarct | 133 | External beam radiotherapy may be abbreviated as EBRT
Abstarct | 161 | Consulting from Nuclear Medicine department may also be added as quite often PETCT is used for CT Simulation where there is no dedicated CT Simulator in Radiotherapy department.
Executive Summary | 234 | May add a line about KV-CBCT and MV-CBCT . Offline and Online modes may be elaborated.
Executive Summary | 281 | DRL may be used just after the expansion
Executive Summary | 304 | Brachytherapy at present uses AAPM TG 43 formalism only and TG 186 is not yet been implemented by vendors in total. Need to extensively write about this in this report and urge for using TG 186. The TPS for brachy is still assumes everything as water and not like EBRT TPS. The IGRT concept in Brachy needs more detailed planning and suggestions.
Executive Summary | 334 | QA program, audit etc should be an integral part of the TPS like chart check and should be made mandatory. Need to have a para for this.
1.1 | 386 | Statements may be supported with literature
1.1 | 390 | BT may be used after Brachytherapy
1.1 | 478 | May add volumetric modulated arc therapy (VMAT), Intensity modulated arc therapy (IMAT), Stereotactic Radiosurgery (SRS) and Stereotactic Radiotherapy (SRT). The lattice therapy or grid therapy with the help of customized blocks ao MLC is also being practiced at few centers globally.
1.2.1 | 514 | Should it be > 1 Gy….? Just check the symbol…(< or >)
1.5 | 774 | Is very crucial and needs attention on adaptive RT protocols.
1.6 | 844 | May add few lines about the filters used post imaging during the registration and analysis along with the softwares/algorithms used by the vendors. A para about extended CBCT for magna field RT planning and treatment like CSI, TBI and TMLI etc may be added
1.7 | 931 | Few lines on TCP and NTCP may be added. Also TPS should have these for ready reference to the planner. Every dose during imaging should be displayed post imaging and should be recorded in the database. It should also be added to the prescription dose so that true delivered dose is recorded though minimal.
1.8 | 952 | IAEA document on AI in Medical Physics may also be cited. AI and ML role to be enhanced for imaging aspects in RT. This scope may expanded in depth.
2 | 1059 | May add Pneumatically controlled as well (For Tomotherapy)
2.1.3 | 1125 | May be expanded to include Zap X RT technology as well.
2.2.1 | 1166 | Sr-90 Beta source may be added in the table which is used for the eye plaque as temporary or short time treatment which is fractionated.
3.3.5 | 1451 | May mention about DEBH for motion management.